## Sheet1
Parameter no. | Size (bytes) | Range | Default value | Values | Label | Short Description | Full Description
1 | 1 | 0-8 | 6 | 0 －motion reports disabled 1-8 －1 indicates the lowest sensitivity and 8 indicates the highest sensitivity. | Motion Sensitivity | Set motion sensitivity for the motion detector to minimize false alerts. Set value to 0 to disable motion reports. | Set motion sensitivity for the motion detector to minimize false alerts. Set value to 0 to disable motion reports. Value 1 indicates the lowest sensitivity and 8 indicates the highest sensitivity.
2 | 2 | 10~3600 | 30 | 10-3600 seconds | Motion Clear Delay | The amount of time the device waits to send a motion clear notification after the last motion event is detected. | The amount of time the device waits to send a motion clear notification after the last motion event is detected. The values are set in seconds.
3 | 1 | 0-7 | 7 | 0 －Disable Basic Set Reports 1 －Basic Set 0xFF for motion / Basic Set 0x00 for no motion 2 －Basic Set 0x00 for motion / Basic Set 0xFF for no motion 3 －Basic Set 0xFF for motion / No reports for no motion 4 －Basic Set 0x00 for motion / No reports for no motion 5 －No reports for motion / Basic Set 0x00 for no motion 6 －No reports for motion / Basic Set 0xFF for no motion 7 －Custom report for motion / custom report for no motion (set in parameter 4) | Basic Set Reporting | Basic Set values sent by the sensor for motion / no-motion events sent to devices associated in Group 2. | Decide which Basic Set values are sent by the sensor for motion / no-motion events sent to Z-Wave devices associated in Group 2.
4 | 2 | Configurable | 65280 | Configurable | Custom Basic Set Reports | Set custom Basic Set reports sent to devices associated in Group 2. For expert users only. | Set custom Basic Set reports sent to devices associated in Group 2. For expert users only. High byte is the value sent when motion is detected, low byte is the value sent when motion is cleared. e.g：0x0A00 means: When motion is detected, Send Basic Set(0A)， When motion is cleared, send Basic Set(00)
5 | 1 | 0/1 | 1 | 0 – Celsius 1 – Fahrenheit | Temperature Reporting Unit | Set the temperature reporting unit. 0 – Celsius, 1 – Fahrenheit. | Set the temperature reporting unit. 0 – Celsius, 1 – Fahrenheit. Remember to check localization settings in your hub first, the may override the local device settings.
6 | 1 | 0/1 | 1 | 0 – LED doesn't blink when motion detected 1 – LED blinks when motion detected | LED Indicator | Decide if you want the LED indicator to blink when motion is detected. | Decide if you want the LED indicator to blink when when motion is detected. 0 – LED doesn't blink when motion detected 1 – LED blinks when motion detected
7 | 1 | 10~50 | 10 | 10-50 % | Low Battery Report | Which % level should the device report low battery to the hub. | Decide when the sensor should report low battery to the hub.
8 | 2 | 0~744 | 4 | 0 – Battery readings disabled 1-744 hours | Battery Check-in Frequency | Set how often you want the device to check battery power for changes (this is not a reporting frequency setting). | Set how often you want the device to check battery power for changes (this is not a reporting frequency setting). Set value to 0 to disable battery reporting from this device to the hub (battery status will not be exposed to the controller if this value is selected).
9 | 2 | 0~600 | 30 | 0 – Temperature readings disabled 1-600 seconds | Temperature Check-in Frequency | Set how often you want the device to check ambient temperature for changes. Set value to 0 to disable this sensor. | Set how often you want the device to check ambient temperature for changes (this is not a reporting frequency setting). Set value to 0 to disable temperature reports from this device to the hub.
10 | 2 | 0~600 | 10 | 0 – Lux readings disabled 1-600 seconds | Lux Check-in Frequency | Set how often you want the device to check lux level for changes. Set value to 0 to disable this sensor. | Set how often you want the device to check lux level for changes (this is not a reporting frequency setting). Set value to 0 to disable lux reports from this device to the hub.
11 | 1 | 0~50 | 2 | 0 – Battery reports disabled 1-50% | Battery Reporting Threshold | Set the threshold for battery reporting in % changes. Set value to 0 to disable battery reporting. | Set the threshold for battery reporting in % changes. Set value to 0 to disable battery reporting from this device to the hub (battery status will not be exposed to the controller if this value is selected).
12 | 1 | 0~144 | 1 | 0 – Temperature reporting disabled 1-144 degrees Frahrenheit | Temperature Reporting Threshold | Set the threshold for temperature reporting in F degree changes. Set value to 0 to disable temperature reports. | Set the threshold for temperature reporting in F degree changes. Set value to 0 to disable temperature reports.
13 | 2 | 0~30000 | 50 | 0 – Lux reporting disabled 1-30000 lux | Lux Reporting Threshold | Set the threshold for lux reporting. Set value to 0 to disable lux reports. | Set the threshold for lux reporting. Set value to 0 to disable lux reports.
14 | 1 | 0~200 | 100 | 0-99 – negative offset 100 – no offset 101-200 – positive offset | Temperature Offset | Set the temperature reporting offset. Value 100 = no offset. Refer to documentation for more details. Expert users only. | Set the temperature reporting offset. Value 100 means no offset, values 0-99 decrease the value (ex: 56 means deduct 4.4 degrees from the measured value), values 101-200 increase the value (ex: value 121 means add 2.1 degree to the reported value). NOTE: Device must be factory reset to restore this value to default.
15 | 1 | 0~200 | 100 | 0-99 – negative offset 100 – no offset 101-200 – positive offset | Lux Offset | Set the lux reporting offset. Value 100 = no offset. Refer to documentation for more details. Expert users only. | Set the lux reporting offset. Value 100 means no offset, values 0-99 decrease the value (ex: 75 means deduct 25 lux from the measured value), values 101-200 increase the value (ex: value 147 means add 47 lux to the measured value). NOTE: Device must be factory reset to restore this value to default.
16 | 2 | 0~30000 | 0 | 0 – Ignore trigger (motion always reported) 1-30000 lux | Lux Level Trigger | Set the lux level trigger for motion reports. If lux is lower than the set value, the sensor will report motion events to the hub. | Set the lux level trigger for motion reports. If lux is lower than the set value, the sensor will report motion events to the hub. Set value to 0 to ignore this trigger and always report motion to the hub.
17 | 2 | 0~43200 | 0 | 0 – Reports based on threshold setting only 1-43200 seconds | Temperature Reporting Frequency | Set the reporting interval for temperature. Values 1-43200 will send a report regardless of the reporting threshold setting. | Set the reporting interval for temperature. Values 1-43200 will send a report regardless of the reporting threshold setting in parameter 12. This means that the set value will force a report even the ambient temperature has not changed. Set value to 0 to report based on threshold changes only.
18 | 2 | 0~43200 | 0 | 0 – Reports based on threshold setting only 1-43200 seconds | Lux Reporting Frequency | Set the reporting interval for lux. Values 1-43200 will send a report regardless of the reporting threshold setting. | Set the reporting interval for lux. Values 1-43200 will send a report regardless of the reporting threshold setting in parameter 13. This means that the set value will force a report even the lux level has not changed. Set value to 0 to report based on threshold changes only.